The purpose of this advice is to improve the accessibility and suitability of the environment for pupils with visual impairments.

Advice could be split into two areas:

- The first is more likely to involve minor changes to the environment, which are likely to be achievable within a short time-scale.  This would relate to a particular pupil in a particular situation (and which takes into account that pupil’s level of functional mobility).

- The second may involve more significant changes, which may need to be built into the medium and long term planning of the school.  This is more general advice on improving the overall environment for anyone with a visual impairment.

The following audit checklist focuses mainly on the first type of advice.

You may not be able to address all the concerns raised by an audit, so it is important that priority areas (in bold print) are identified.

School:

Date undertaken:

Qualified Teacher of the Visually Impaired:

Classroom Audit

Lighting/Glare				  Yes/No	Comments

| Where are natural sources of light (and when is sunlight strongest in the room)? |  |  |
| --- | --- | --- |
| Are there blinds or curtains (preferably plain) which work and can control potential glare and control overall lighting levels? |  |  |
| Does overhead lighting appear adequate for the task? If not, is there provision for task lighting? |  |  |
| Are there any areas of shadow or darkness which might cause a difficulty? |  |  |
| Are there areas of glare from work surfaces, mirrors or gloss finishes? |  |  |

Décor						   Yes/No	Comments

| Are work surfaces plain, and do they give good contrast? |  |  |
| --- | --- | --- |
| Is there colour contrast between: - Walls – skirting – floor? - Walls – door frames – doors? - Walls – handles – light switches? |  |  |
| Are there areas that can provide clear contrast as necessary? |  |  |
| Does furniture contrast with floor? |  |  |
| Does the flooring cause glare? |  |  |
| Are there clearly defined changes in surface or levels? |  |  |

Furniture/storage/layout		   Yes/No   Comments

| Are white/black boards/portable writing boards positioned away from glare (and not backing onto windows)? |  |  |
| --- | --- | --- |
| Are there clearly defined areas/layouts for furniture (with suitable room for movement in-between)? |  |  |
| Are there designated and defined areas for different activities? |  |  |
| Is equipment and spare furniture (clutter) stored out of the ‘walkways’? |  |  |
| Is equipment clearly labelled so that the visually impaired pupil can collect and store equipment independently? |  |  |
| Are there power points available in suitable places for any specialist equipment/task lighting? |  |  |
| Are displays clearly labelled and at a suitable level? |  |  |
| Are information labels clear and well-contrasted? |  |  |

Whole school Audit

Corridors/indoor passageways              Yes/No    Comments

| Are the walkways clear of coats, bags and other temporary obstructions? |  |  |
| --- | --- | --- |
| Does lighting appear adequate for ‘the task’? |  |  |
| Is there glare or direct sunlight, and does this cause a potential problem for this pupil (can they avoid it)? |  |  |
| Is there a need for lighting control in any of these areas? |  |  |

Steps/stairs (indoor and out)                 Yes/No     Comments

| Are steps and stair edges sufficiently contrasted? (e.g. outdoor concrete steps should be edged as they are particularly difficult.) |  |  |
| --- | --- | --- |
| Are there handrails in place which extend beyond the steps/stairs? |  |  |
| Do the stairs have open undercarriage which might cause a hazard? |  |  |

Outdoor areas			            Yes/No      Comments

| Are pathways (and edges) clearly defined? |  |  |
| --- | --- | --- |
| Are there tactile/visual clues to mark indoor/outdoor boundaries (e.g. metal grids, doormats, ramps)? |  |  |
| Does playground equipment stand out from the surface or background? |  |  |
| Are doorways easy to see? |  |  |
| Are supporting posts, pillars and door retainers sufficiently contrasted from the background? |  |  |
| Does furniture (such as benches and ‘bins’) contrast with surroundings? |  |  |
| Are signs and signposts sufficiently clear for pupils to read? |  |  |
| Look at markings on playing fields/sports courts etc. for clear contrast. (Also, look at access to these areas.) |  |  |

Based on An Environmental Audit (VITAL) RNIB 1998 and Eye contact supplement ‘An Environmental Audit’

Updated December 2017